# Phase extender

For Tapping mode the switches on the side of the extender should both be switched up:

Mode: 				Tip or sample voltage:

FM/phase			 Gnd/surface potential