| MWNT# | Date f-res | Force Curve (d,l) | Freq-spectrum | Gold colloids | Image | TEM | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 7 |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |
| 12 | 7-July-03 |  | f=32.4 200mV |  |  |  | f |
| 15 |  |  |  |  |  |  |  |
| 17 | 2-July-03 |  |  | Mickey moude tip Tip change |  |  |  |
| 18 |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |  |
| 25 |  |  |  |  |  |  |  |
| 26 | 30-June-03 27-1-04 | In liquid Allard |  |  |  |  |  |
| 28 |  |  |  |  |  |  |  |
| 29 |  |  |  |  |  |  |  |
| 30 | 8-July-03 | In liquid | f=26.2 kHz 600 mV |  | drift |  |  |
| 31 |  |  |  |  |  |  |  |
| 32 |  |  |  |  |  |  |  |
| 33 |  |  |  |  |  |  |  |
| 34 | 4-Aug_03 |  | f=68.9kHz 1500mV f=49.3kHz 300mV |  |  |  |  |

MWNT TIPS 		by Geiske – Dublin 26-06-2003

| MWNT# | Date | Force Curve (d,l) | Freq-spectrum | Gold colloids | Image | TEM | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 36 |  |  |  |  |  |  |  |
| 37 |  |  |  |  |  |  |  |
| 38 | 2-July-03 |  |  | Strange tip end |  |  |  |
| 39 | 21-July-03 | In liquid | Ugly F=26.7-9 300mV |  | Lots of noise, suddenly oscillations |  |  |
| 40 | 2-July-03 |  |  | So beautiful dtip=15nm |  |  |  |
| 49 |  |  |  |  |  |  |  |
| 50 | 22-July-03 | In liquid | F=30.3kHz 1100mV |  |  |  |  |
| 51 |  |  |  |  |  |  |  |
| 52 |  |  |  |  |  |  |  |
| 53 |  |  |  |  |  |  |  |