# Scanner Calibration Log

## Date		Scanner	old .scn		new .scn	Name		Comments                                                  .

## Nov 02		J						Peter M		x&y

Feb03		E: 4645ev	4645ev		4645evFeb03	Henriette	x&y, MI grid

Dionne		z, mica steps

May03		E:4645ev	4645evFeb03			Henriette	fast scan distance seems off by 4%