[image: image1.png]CRYOGENIC LIMITED






Federica Galli
Leiden Institute of Physics
Niels Bohrweg 2
2333 CA Leiden
The Netherlands
Tel.:
+31 71 5275404

27th December 2006
Quotation No Q5588
Helium level probe 

The sensor consists of a fine wire made from an alloy (NbTi) which has a superconducting transition temperature higher then the boiling point of liquid helium. A small heater wound on the sensor wire is used to ensure that a short section at the top of the wire remains resistive independent of the liquid helium level. The voltage developed across the sensor is then directly proportional to the length of conductor in the helium vapour. This voltage is internally converted (in the HLG200 or HLG210) to equivalent helium depth and digitally displayed. This operation is pulsed intermittently to minimise heat input into the helium but the level is displayed continuously.

Type 105
This probe is suited for measuring helium depth to a maximum of 550mm and is available in total lengths from 600mm to 2000mm, with 1100mm as our standard stock length.
Prices, Terms and Conditions

	Item
	Description
	Price

	HLP-AL550-TL1100
	Helium level probe (type 105A) with active length 550mm and total length 1100mm.
	£215

	HLP-AL550-TLXX
	Helium level probe (type 105B) with active length 550mm and total length 600mm-1100mm.
	£210

	HLP-AL550-TLXX
	Helium level probe (type 105C) with active length 550mm and total length 1100mm-2000mm.
	£235


The prices above are quoted as ex-works London, exclusive of packing, freight and insurance. They also exclude VAT (Value Added Tax); please indicate your VAT number on your order

	Packing & insurance for one level probe 
	£ 25

	Delivery for one level probe 
	£ 30


	PAYMENT TERMS
	100% net on delivery

	DELIVERY
	Typically 2 weeks from receipt of written order.

	VALIDITY OF OFFER
	90 days

	WARRANTY
	All items are covered by our standard warranty of one year against defects in materials or faulty workmanship.

	LOCAL TAXES AND/OR DUTIES
	Prices exclude local taxes and/or import duty.


	Felicia Doughty
	

	Sales Administrator
	


29-30 Acton Park Industrial Estate, The Vale, London W3 7QE, UK

     1 of 2
International Tel: (+44) 208 743 6049    International Fax: (+44) 208 749 5315

E-mail: info@cryogenic.co.uk   Web Site: http://www.cryogenic.co.uk 

Registered in England No. 265 9543   VAT No. GB 538 8881 84


[image: image1.png]